## sound pressure loss
Sound Pressure Loss Calculator
Enter speaker dBA specification at 10 feet and other distances are calculated in a table below.
dB spec (dBA @ 10 ft.): |  | 60
| dBA | Feet
| 86 | 0.5
| 80 | 1
| 77 | 1.4
| 74 | 2
| 72 | 2.5
| 68 | 4
| 66 | 5
| 62 | 8
| 60 | 10
| 57 | 14
| 56 | 16
| 54 | 20